## Sheet1
Characterization of FreqCount84
A 32.768 kHz 4060 circuit was built. Different outputs were measured. It is assumed that the different outputs are related to each other by EXACTLY powers of 2.
Additionally, a 4040 was connected to the output of the 4060 to measure lower frequencies (that should also be related by EXACTLY powers of 2).

Device	Expected Frequency (Hz)	Pin #	Measured Freq (Hz)	Log Freq	Freq Diff (Hz)	Freq Error (ppm)		Expected Period (s)	Measured Period (s)	Log Period	Period Diff (s)	Period Diff (µs)	Period Error (ppm)	Measurement Period (s)	Actual Period (known based on the ppm calculation done for low frequencies)	Actual Frequency (known based on the ppm calculation done for low frequencies)	Difference between actual period and Measurement Period (µs)
4040	0.0004882813	1	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!		2048		Err:502	-2048	-2048000000.000000000000	-1000000.000
4040	0.0009765625	15	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!		1024		Err:502	-1024	-1024000000.000000000000	-1000000.000
4040	0.001953125	14	0.0019531441	-2.70927	1.90736725944746E-008	9.766		512	511.995	2.7092657198	-0.005	-4999.9999999955	-9.766
4040	0.00390625	12	0.0039062927	-2.40824	4.27250766805651E-008	10.938		256	255.9972	2.4082352152	-0.0028	-2800.0000000077	-10.938
4040	0.0078125	13	0.0078125855	-2.10721	8.54501533611302E-008	10.938		128	127.9986	2.1072052195	-0.0014	-1400.0000000038	-10.938
4040	0.015625	4	0.0156252441	-1.80617	2.44144439755234E-007	15.625		64	63.999	1.8061731881	-0.001	-999.9999999977	-15.625
4040	0.03125	2	0.031250293	-1.50515	0.000000293	9.375		32	31.9997	1.5051459068	-0.0003	-299.9999999993	-9.375
4040	0.0625	3	0.0625007813	-1.20411	7.81259765741948E-007	12.500		16	15.9998	1.2041145539	-0.0002	-199.9999999995	-12.500
4040	0.125	5	0.12500125	-0.90309	0.00000125	10.000		8	7.99992	0.903085644	-0.00008	-79.9999999996	-10.000
4040	0.25	6	0.2500025	-0.60206	0.0000025	10.000		4	3.99996	0.6020556484	-0.00004	-39.9999999998	-10.000
4040	0.5	7	0.5000075001	-0.30102	7.50011250161275E-006	15.000		2	1.99997	0.3010234812	-0.00003	-29.9999999998	-15.000
4040	1	9	1.00001	0.00000	0.00001	10.000		1	0.9999900001	-4.3429231044777E-006	-9.99990000105644E-006	-9.9999000011	-10.000
74HC4060	2	3	2.00002	0.30103	0.00002	10.000		0.5	0.4999950001	-0.3010343386	-0.000005	-4.9999500005	-10.000
74HC4061	4	2	4.00007	0.60207	0.00007	17.500		0.25	0.2499956251	-0.6020675914	-4.37492343885459E-006	-4.3749234389	-17.500	0.24999563	0.249997141	4.000045750	1.51555344
74HC4062	8	1	8.00022	0.90310	0.00022	27.500		0.125	0.1249965626	-0.9031019299	-3.43740547135984E-006	-3.4374054714	-27.499	0.12499656	0.124998570	8.000091501	2.00772047
74HC4063	32	15	32.0026	1.50519	0.0026	81.250		0.03125	0.0312474611	-1.5051852633	-2.53885621793321E-006	-2.5388562179	-81.243	0.03124746	0.031249643	32.000366004	2.18143497
74HC4064	64	13	64.0053	1.80622	0.0053	82.813		0.015625	0.0156237062	-1.8062159375	-1.29383816652867E-006	-1.2938381665	-82.806	0.02500000
74HC4065	128	14	128.01	2.10724	0.01	78.125		0.0078125	0.0078118897	-2.1072438976	-6.10303882508413E-007	-0.6103038825	-78.119	0.02500000
74HC4066	256	6	256.023	2.40828	0.023	89.844		0.00390625	0.0039058991	-2.4082789822	-3.50920620413326E-007	-0.3509206204	-89.836	0.02500000
74HC4067	512	4	512.05	2.70931	0.05	97.656		0.001953125	0.0019529343	-2.7093123705	-1.90716238648424E-007	-0.1907162386	-97.647	0.02500000
74HC4068	1024	5	1024.1	3.01034	0.1	97.656		0.0009765625	0.0009764671	-3.0103423661	-9.53581193242122E-008	-0.0953581193	-97.647	0.02500000
74HC4069	2048	7	2048.2	3.31137	0.2	97.656		0.0004882813	0.0004882336	-3.3113723618	-4.76790596621061E-008	-0.0476790597	-97.647	0.02500000

					Average ppm calculation				Average difference between periods (µs). i.e. missing time each period	Calculated ppm for 40 Hz (25 ms measurement period)		clock cycles per second (Hz)	missing clock cycles each measurement peiod
					-11.4374800002				1.9015696259	76.0627850373		2.00E+007	38.0313925186
					hmm… this seems fairly close to the ppm seen for higher frequency measurements… It is limited by the 40 Hz sample rate cap imposed in the firmware…			So I should start out the timer1 register at 38 every cycle, and see if my frequency measurement discrepancy goes away…
Frequency Measurement Error vs Input Frequency
A look at the error in measurement of the FreqCount84
Frequency (dBHz)
Error (ppm)